## Empir ANSTO corr wheel2 only
Updated June 6, 2026
ANSTO-generated commensurately sized standard and blank results. From R620 analysis
THIS VERSION NOT CURRENTLY BEING USED
Standard | 14C meas, pMC | 14C Meas Error | 14C true, pMC | 14C True Error
OX1 30ug1 | 101.2978 | 1.8987 | 103.98 | 0.04 | high scatter for OX1's; no obvious anaytical issues on ANSTO side
OX1 30ug 2 | 107.9489 | 0.67739 | 103.98 | 0.04
C7 30ug1 | 50.606 | 0.49775 | 49.53 | 0.12
C7 30ug2 | 50.7643 | 0.54584 | 49.53 | 0.12
C8 30ug 1 | 15.6605 | 0.25171 | 15.03 | 0.17
C8 30ug 2 | 16.4025 | 0.25601 | 15.03 | 0.17
Blk 30ug 1 | 0.88643 | 0.1376 | 0.24 | 0.09
Blk 30ug 2 | 0.93179 | 0.0757 | 0.24 | 0.09
Blk 30ug 3 | 0.64324 | 0.0598 | 0.24 | 0.09
Blk 30ug 4 | 0.66166 | 0.0517 | 0.24 | 0.09
From linear curve fit analysis in Igor, -- in "R620 Dome C 14CO empir corr 6Jun2026.pxp"
14Cmeas = a + b * 14C true
| value | 1 sigma error
a | 0.47125 | 0.0357
b | 1.023 | 0.0048
c = a/b | 0.46065 | 0.034964
Then 14C true = 14Cmeas/b - c
Samples and Blanks | Sample and blank values prior to this correction | Error | 14Cmeas/b | Error | 14C true | Error | %Error after ANSTO correction
14CO_DIRECT_FILL_WITH_14C_MODERN_STANDARD | 11.3 | 0.18671 | 11.0459 | 0.18973 | 10.5853 | 0.19292 | 1.8226
14CO_UR_DC_WATER_BLANK_2 | 11.8192 | 0.31421 | 11.5535 | 0.31189 | 11.0928 | 0.31384 | 2.8293
14CO_UR_DC_ICE_SAMPLE_10 | 117.685 | 0.71863 | 115.0391 | 0.8859 | 114.5784 | 0.88659 | 0.77379
14CO_UR_DC_ICE_SAMPLE_6 | 138.1797 | 1.5643 | 135.073 | 1.6553 | 134.6124 | 1.6556 | 1.2299
14CO_UR_DC_ICE_SAMPLE_13 | 155.3685 | 0.95243 | 151.8754 | 1.1724 | 151.4147 | 1.173 | 0.77467
14CO_UR_DC_FIRN_EXTRACTION_3 | 90.9333 | 1.2483 | 88.8889 | 1.2896 | 88.4282 | 1.29 | 1.4588
14CO_UR_DC_WATER_BLANK_4B | 4.6836 | 0.1249 | 4.5783 | 0.12397 | 4.1176 | 0.12881 | 3.1282
14CO_UR_DC_ICE_SAMPLE_8 | 129.6309 | 1.0144 | 126.7165 | 1.1562 | 126.2558 | 1.1567 | 0.91615
14CO_UR_DC_FIRN_SAMPLE_1 | 171.9793 | 1.3755 | 168.1127 | 1.5588 | 167.652 | 1.5592 | 0.93004
14CO_UR_DC_ICE_SAMPLE_11 | 108.7002 | 0.64391 | 106.2563 | 0.80297 | 105.7956 | 0.80373 | 0.7597
14CO_UR_DC_WATER_BLANK_1 | 4.766 | 0.2482 | 4.6589 | 0.2436 | 4.1982 | 0.2461 | 5.862
14CO_UR_DC_ICE_SAMPLE_1 | 100.6037 | 1.144 | 98.3418 | 1.2097 | 97.8812 | 1.2102 | 1.2364
14CO_UR_DC_ICE_SAMPLE_9 | 127.2681 | 0.698 | 124.4068 | 0.89793 | 123.9461 | 0.89861 | 0.725
14CO_UR_DC_ICE_SAMPLE_3 | 143.9904 | 1.9237 | 140.7531 | 1.993 | 140.2925 | 1.9933 | 1.4208
14CO_UR_DC_ICE_SAMPLE_12 | 126.8929 | 1.1222 | 124.04 | 1.2418 | 123.5793 | 1.2423 | 1.0053
14CO_UR_DC_ICE_SAMPLE_4 | 143.7876 | 1.1644 | 140.5549 | 1.3155 | 140.0942 | 1.3159 | 0.93933
14CO_UR_DC_WATER_BLANK_3 | 4.0442 | 0.1195 | 3.9533 | 0.11828 | 3.4926 | 0.12334 | 3.5314
14CO_UR_DC_ICE_SAMPLE_7 | 149.4462 | 1.2775 | 146.0862 | 1.4245 | 145.6256 | 1.425 | 0.97851
14CO_UR_DC_ICE_SAMPLE_2 | 92.6735 | 7.9096 | 90.5899 | 7.7435 | 90.1293 | 7.7435 | 8.5916 | target fell out of cathode during ANTARES measurement; low current
14CO_UR_DC_FIRN_SAMPLE_2 | 123.1205 | 1.369 | 120.3524 | 1.4525 | 119.8917 | 1.4529 | 1.2118
14CO_UR_DC_ICE_SAMPLE_5 | 145.6941 | 1.284 | 142.4185 | 1.4219 | 141.9578 | 1.4223 | 1.002
14CO_UR_DC_WATER_BLANK_5 | 4.5067 | 0.1251 | 4.4054 | 0.12402 | 3.9447 | 0.12886 | 3.2666
14CO_UR_DC_ICE_SAMPLE_14 | 158.4513 | 2.1211 | 154.8889 | 2.1971 | 154.4282 | 2.1974 | 1.4229
DRY INJ EXT BLK | 6.1573 | 0.1418 | 6.0189 | 0.14146 | 5.5583 | 0.14572 | 2.6217
HOT-DRY BLK | 9.2717 | 0.17631 | 9.0633 | 0.17751 | 8.6026 | 0.18092 | 2.1031
14CO_UR_DC_10_PPM_CO_STD_1 | 1.7301 | 0.1138 | 1.6912 | 0.11152 | 1.2306 | 0.11688 | 9.4977
14CO_UR_DC_10_PPM_CO_STD_2 | 1.2503 | 0.0738 | 1.2222 | 0.072369 | 0.76151 | 0.080372 | 10.5544
Note on B5: Vas Petrenko: Normalized to lg standards, d13C corrected
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: There were no commensurately sized OX2s included in the Dome C sample wheel (wheel 2); just these two OX1s
Note on D12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is OZQ456, dead CO2 standard. Using average of 1mg blanks from this run here (wheels 3 & 4)
Note on B30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: d13C-corrected and normalized to large standards.
Note on A54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: sample measured in wheel 3. However, there were no commensurately sized stds in wheel 3, only blanks. So including this sample in the same analysis as all wheel 2 samples
Note on A55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: sample measured in wheel 3. However, there were no commensurately sized stds in wheel 3, only blanks. So including this sample in the same analysis as all wheel 2 samples

## Empir ANSTO corr
Updated June 8, 2026
ANSTO-generated commensurately sized standard and blank results. From R620 analysis
Two versions of the correction are made: including only stds measured in wheel 2 or also including the 30 µg OX2s that were measured in wheel 4
Things highlighted in yellow may adjust / need finalizing
Standard | 14C meas, pMC | 14C Meas Error | 14C true, pMC | 14C True Error
OX2 30ug1 | 133.6133 | 0.53218 | 134.08 | 0.46 | The OX2s are from wheel 4
OX2 30ug2 | 135.3505 | 0.62295 | 134.08 | 0.46
OX1 30ug1 | 101.2978 | 1.8987 | 103.98 | 0.04 | high scatter for OX1's; no obvious anaytical issues on ANSTO side
OX1 30ug 2 | 107.9489 | 0.67739 | 103.98 | 0.04
C7 30ug1 | 50.606 | 0.49775 | 49.53 | 0.12
C7 30ug2 | 50.7643 | 0.54584 | 49.53 | 0.12
C8 30ug 1 | 15.6605 | 0.25171 | 15.03 | 0.17
C8 30ug 2 | 16.4025 | 0.25601 | 15.03 | 0.17
Blk 30ug 1 | 0.88643 | 0.1376 | 0.24 | 0.09
Blk 30ug 2 | 0.93179 | 0.0757 | 0.24 | 0.09
Blk 30ug 3 | 0.64324 | 0.0598 | 0.24 | 0.09
Blk 30ug 4 | 0.66166 | 0.0517 | 0.24 | 0.09
From linear curve fit analysis in Igor, -- in "R620 Dome C 14CO empir corr 6Jun2026.pxp"
14Cmeas = a + b * 14C true
| Wheel 2 standards only | [5 empty] | Wheel 2 stds + OX2 from wheel 4
| value | 1 sigma error |  |  |  |  | value | 1 sigma error
a | 0.47125 | 0.0357 |  |  |  |  | 0.48898 | 0.035
b | 1.023 | 0.0048 |  |  |  |  | 1.006 | 0.00266
c = a/b | 0.46065 | 0.034964 |  |  |  |  | 0.48606 | 0.034815
Then 14C true = 14Cmeas/b - c
Samples and Blanks | Sample and blank values prior to this correction | Error | 14Cmeas/b | Error | 14C true | Error | Sample and blank values prior to this correction | Error | 14Cmeas/b | Error | 14C true | Error | Mean 14C true value, pMC | Error | % Error
14CO_DIRECT_FILL_WITH_14C_MODERN_STANDARD | 11.3 | 0.18671 | 11.0459 | 0.18973 | 10.5853 | 0.19292 | 11.3 | 0.18671 | 11.2326 | 0.18796 | 10.7465 | 0.19116 | 10.6659 | 0.27267 | 2.5564
14CO_UR_DC_WATER_BLANK_2 | 11.8192 | 0.31421 | 11.5535 | 0.31189 | 11.0928 | 0.31384 | 11.8192 | 0.31421 | 11.7487 | 0.31387 | 11.2626 | 0.3158 | 11.1777 | 0.39974 | 3.5762
14CO_UR_DC_ICE_SAMPLE_10 | 117.685 | 0.71863 | 115.0391 | 0.8859 | 114.5784 | 0.88659 | 117.685 | 0.71863 | 116.9831 | 0.77844 | 116.497 | 0.77921 | 115.5377 | 1.7922 | 1.5512
14CO_UR_DC_ICE_SAMPLE_6 | 138.1797 | 1.5643 | 135.073 | 1.6553 | 134.6124 | 1.6556 | 138.1797 | 1.5643 | 137.3556 | 1.5968 | 136.8695 | 1.5972 | 135.7409 | 2.755 | 2.0296
14CO_UR_DC_ICE_SAMPLE_13 | 155.3685 | 0.95243 | 151.8754 | 1.1724 | 151.4147 | 1.173 | 155.3685 | 0.95243 | 154.4419 | 1.0311 | 153.9558 | 1.0317 | 152.6853 | 2.3728 | 1.5541
14CO_UR_DC_FIRN_EXTRACTION_3 | 90.9333 | 1.2483 | 88.8889 | 1.2896 | 88.4282 | 1.29 | 90.9333 | 1.2483 | 90.391 | 1.2637 | 89.9049 | 1.2642 | 89.1666 | 2.0154 | 2.2603
14CO_UR_DC_WATER_BLANK_4B | 4.6836 | 0.1249 | 4.5783 | 0.12397 | 4.1176 | 0.12881 | 4.6836 | 0.1249 | 4.6556 | 0.12477 | 4.1696 | 0.12953 | 4.1436 | 0.15515 | 3.7443
14CO_UR_DC_ICE_SAMPLE_8 | 129.6309 | 1.0144 | 126.7165 | 1.1562 | 126.2558 | 1.1567 | 129.6309 | 1.0144 | 128.8578 | 1.0643 | 128.3717 | 1.0649 | 127.3138 | 2.1688 | 1.7035
14CO_UR_DC_FIRN_SAMPLE_1 | 171.9793 | 1.3755 | 168.1127 | 1.5588 | 167.652 | 1.5592 | 171.9793 | 1.3755 | 170.9536 | 1.44 | 170.4675 | 1.4405 | 169.0598 | 2.9076 | 1.7199
14CO_UR_DC_ICE_SAMPLE_11 | 108.7002 | 0.64391 | 106.2563 | 0.80297 | 105.7956 | 0.80373 | 108.7002 | 0.64391 | 108.0518 | 0.70094 | 107.5658 | 0.70181 | 106.6807 | 1.6379 | 1.5353
14CO_UR_DC_WATER_BLANK_1 | 4.766 | 0.2482 | 4.6589 | 0.2436 | 4.1982 | 0.2461 | 4.766 | 0.2482 | 4.7376 | 0.24704 | 4.2515 | 0.24948 | 4.2249 | 0.27445 | 6.4961
14CO_UR_DC_ICE_SAMPLE_1 | 100.6037 | 1.144 | 98.3418 | 1.2097 | 97.8812 | 1.2102 | 100.6037 | 1.144 | 100.0036 | 1.1675 | 99.5176 | 1.168 | 98.6994 | 2.0073 | 2.0338
14CO_UR_DC_ICE_SAMPLE_9 | 127.2681 | 0.698 | 124.4068 | 0.89793 | 123.9461 | 0.89861 | 127.2681 | 0.698 | 126.5091 | 0.77026 | 126.023 | 0.77105 | 124.9845 | 1.8733 | 1.4988
14CO_UR_DC_ICE_SAMPLE_3 | 143.9904 | 1.9237 | 140.7531 | 1.993 | 140.2925 | 1.9933 | 143.9904 | 1.9237 | 143.1316 | 1.9493 | 142.6456 | 1.9496 | 141.469 | 3.148 | 2.2253
14CO_UR_DC_ICE_SAMPLE_12 | 126.8929 | 1.1222 | 124.04 | 1.2418 | 123.5793 | 1.2423 | 126.8929 | 1.1222 | 126.1361 | 1.1643 | 125.65 | 1.1649 | 124.6147 | 2.2389 | 1.7967
14CO_UR_DC_ICE_SAMPLE_4 | 143.7876 | 1.1644 | 140.5549 | 1.3155 | 140.0942 | 1.3159 | 143.7876 | 1.1644 | 142.93 | 1.2176 | 142.444 | 1.2181 | 141.2691 | 2.4419 | 1.7285
14CO_UR_DC_WATER_BLANK_3 | 4.0442 | 0.1195 | 3.9533 | 0.11828 | 3.4926 | 0.12334 | 4.0442 | 0.1195 | 4.0201 | 0.11926 | 3.534 | 0.12424 | 3.5133 | 0.14449 | 4.1126
14CO_UR_DC_ICE_SAMPLE_7 | 149.4462 | 1.2775 | 146.0862 | 1.4245 | 145.6256 | 1.425 | 149.4462 | 1.2775 | 148.5549 | 1.3292 | 148.0688 | 1.3297 | 146.8472 | 2.599 | 1.7698
14CO_UR_DC_ICE_SAMPLE_2 | 92.6735 | 7.9096 | 90.5899 | 7.7435 | 90.1293 | 7.7435 | 92.6735 | 7.9096 | 92.1208 | 7.8662 | 91.6347 | 7.8663 | 90.882 | 8.5576 | 9.4162 | target fell out of cathode during ANTARES measurement; low current
14CO_UR_DC_FIRN_SAMPLE_2 | 123.1205 | 1.369 | 120.3524 | 1.4525 | 119.8917 | 1.4529 | 123.1205 | 1.369 | 122.3862 | 1.3988 | 121.9001 | 1.3992 | 120.8959 | 2.4302 | 2.0102
14CO_UR_DC_ICE_SAMPLE_5 | 145.6941 | 1.284 | 142.4185 | 1.4219 | 141.9578 | 1.4223 | 145.6941 | 1.284 | 144.8252 | 1.3325 | 144.3391 | 1.333 | 143.1485 | 2.5683 | 1.7942
14CO_UR_DC_WATER_BLANK_5 | 4.5067 | 0.1251 | 4.4054 | 0.12402 | 3.9447 | 0.12886 | 4.5067 | 0.1251 | 4.4798 | 0.12492 | 3.9938 | 0.12968 | 3.9693 | 0.15379 | 3.8745
14CO_UR_DC_ICE_SAMPLE_14 | 158.4513 | 2.1211 | 154.8889 | 2.1971 | 154.4282 | 2.1974 | 158.4513 | 2.1211 | 157.5063 | 2.1492 | 157.0202 | 2.1495 | 155.7242 | 3.4694 | 2.2279
DRY INJ EXT BLK | 6.1573 | 0.1418 | 6.0189 | 0.14146 | 5.5583 | 0.14572 | 6.1573 | 0.1418 | 6.1206 | 0.14188 | 5.6346 | 0.14609 | 5.5964 | 0.18406 | 3.2889
HOT-DRY BLK | 9.2717 | 0.17631 | 9.0633 | 0.17751 | 8.6026 | 0.18092 | 9.2717 | 0.17631 | 9.2164 | 0.17694 | 8.7303 | 0.18034 | 8.6665 | 0.2445 | 2.8213
14CO_UR_DC_10_PPM_CO_STD_1 | 1.7301 | 0.1138 | 1.6912 | 0.11152 | 1.2306 | 0.11688 | 1.7301 | 0.1138 | 1.7198 | 0.11321 | 1.2338 | 0.11845 | 1.2322 | 0.11925 | 9.6778
14CO_UR_DC_10_PPM_CO_STD_2 | 1.2503 | 0.0738 | 1.2222 | 0.072369 | 0.76151 | 0.080372 | 1.2503 | 0.0738 | 1.2428 | 0.073434 | 0.75675 | 0.081269 | 0.75913 | 0.078443 | 10.3333
Note on B6: Vas Petrenko: Normalized to lg standards, d13C corrected
Note on A9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: There were no commensurately sized OX2s included in the Dome C sample wheel (wheel 2); just these two OX1s
Note on D15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is OZQ456, dead CO2 standard. Using average of 1mg blanks from this run here (wheels 3 & 4)
Note on B33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: d13C-corrected and normalized to large standards.
Note on I33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: d13C-corrected and normalized to large standards.
Note on Q33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Taking this as a 1-sigma error
Note on A57: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: sample measured in wheel 3. However, there were no commensurately sized stds in wheel 3, only blanks. So including this sample in the same analysis as all wheel 2 samples
Note on A58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: sample measured in wheel 3. However, there were no commensurately sized stds in wheel 3, only blanks. So including this sample in the same analysis as all wheel 2 samples

## 14CO analysis
Last updated June 8 2026
Results are from ANSTO R620 analysis
Note: sample names and 14C values are linked to the "Empirical ANSTO blank corr" worksheet
Columns with headings highlighted in yellow still need to be finalized
|  | Pressure gauge accuracy (fractional) for dilutions |  |  |  | 0.0001
SAMPLE DATA
Sample | Sicocan or tank number | d13CO after dilution | Error | 14CO in diluted samples corrected for d13C, true pMC | Error | 14CO after ANSTO empirical correction, pMC | Error | [CO] in sample prior to dilution | Error | Pressure before dilution, torr | Error | Avg T of Tank before dilution, C | Avg T of tank before dilution, K | Error | Final pressure afetr dilution, torr | Error | Avg T tank after dilution, ˚C | Avg T tank after dilution, K | Error | Final pressure corrected to initial tank temp, torr | Error | Pressure due to standard, torr | Error | Notes / problems
14CO_DIRECT_FILL_WITH_14C_MODERN_STANDARD | UR-S12 | -38.55 | 0.6 | 11.3 | 0.18671 | 10.6659 | 0.27267 | 70.5235 | 2 | 1840.068 | 0.18401 | 22.6 | 295.75 | 0.2 | 2795.816 | 0.27958 | 22.7 | 295.85 | 0.2 | 2794.871 | 2.687 | 954.803 | 2.6933 | Put trap 8 dewar on trap 7 and vice versa
14CO_UR_DC_WATER_BLANK_2 | UR-S14 | -38.55 | 0.6 | 11.8192 | 0.31421 | 11.1777 | 0.39974 | 81.9391 | 2 | 1901.213 | 0.19012 | 22.7 | 295.85 | 0.2 | 2787.515 | 0.27875 | 22.6 | 295.75 | 0.2 | 2788.4575 | 2.6809 | 887.2445 | 2.6876 | Forgot to close K16 @ end of downstream leak check before KNF leak check. Quickly saw problem, closed k16, re-evacuated downstream after leack check. Rechecked KNF pump leak ctest after closing H. 0:00 0.47 torr, 1:00 1.380 torr, 2:00 2.234 torr, 3:00 3.128 torr. Forgot to top off russian doll traps before switching to sample. Topped off after starting sample collection.
14CO_UR_DC_ICE_SAMPLE_10 | UR-S08 | -38.55 | 0.6 | 117.685 | 0.71863 | 115.5377 | 1.7922 | 148.1619 | 2 | 1333.628 | 0.13336 | 22.6 | 295.75 | 0.2 | 2474.092 | 0.24741 | 22.7 | 295.85 | 0.2 | 2473.2557 | 2.3778 | 1139.6277 | 2.3816 | Paused breifley before tranasfer to recolleciton can to disucss what P to fill to. Turned off KNFs after transfer.
14CO_UR_DC_ICE_SAMPLE_6 | UR-S13 | -38.55 | 0.6 | 138.1797 | 1.5643 | 135.7409 | 2.755 | 133.6038 | 2 | 1365.912 | 0.13659 | 22.4 | 295.55 | 0.2 | 2508.323 | 0.25083 | 22.5 | 295.65 | 0.2 | 2507.4746 | 2.4123 | 1141.5626 | 2.4162
14CO_UR_DC_ICE_SAMPLE_13 | UR-S03 | -38.55 | 0.6 | 155.3685 | 0.95243 | 152.6853 | 2.3728 | 97.1729 | 2 | 1616.516 | 0.16165 | 22.8 | 295.95 | 0.2 | 2753.283 | 0.27533 | 22.8 | 295.95 | 0.2 | 2753.283 | 2.6457 | 1136.767 | 2.6506 | Redoing KNF pump leak check--valve H Is closed. 0:00 0.047 torr, 1:00 1.464 torr, 2:00 2.430 torr, 3:00 3.498 torr. While pouring LN2 during start of sample collection, dewar on trap 7 slipped. Securing/repositioning it delayed pouring LN2 on trap 8 by about 5 seconds.
14CO_UR_DC_FIRN_EXTRACTION_3 | UR-S23 | -38.55 | 0.6 | 90.9333 | 1.2483 | 89.1666 | 2.0154 | 92.1464 | 2 | 1393.359 | 0.13934 | 22.7 | 295.85 | 0.2 | 2532.724 | 0.25327 | 22.8 | 295.95 | 0.2 | 2531.8682 | 2.4334 | 1138.5092 | 2.4373 | 4BK valve might not have been fully closed during KNF leak check. Redo. 0:00 0.051 torr 1:00 1.459 torr 2:00 2.350 torr 3:00 3.267 torr. During flamesealing, LN2 dewar too hight. Struggled to pull sample tube away from flame tube. Also, 3 finger clamp not tight enough.
14CO_UR_DC_WATER_BLANK_4B | UR-S19 | -38.55 | 0.6 | 4.6836 | 0.1249 | 4.1436 | 0.15515 | 42.6022 | 2 | 1296.379 | 0.12964 | 22.6 | 295.75 | 0.2 | 2431.364 | 0.24314 | 22.7 | 295.85 | 0.2 | 2430.5422 | 2.3367 | 1134.1632 | 2.3403
14CO_UR_DC_ICE_SAMPLE_8 | UR-S16 | -38.55 | 0.6 | 129.6309 | 1.0144 | 127.3138 | 2.1688 | 141.1746 | 2 | 1308.448 | 0.13084 | 22.1 | 295.25 | 0.2 | 2437.861 | 0.24379 | 22.7 | 295.85 | 0.2 | 2432.9169 | 2.341 | 1124.4689 | 2.3446 | Upstream leak check: H complex was initially at 4 torr. Hiar dryer wouldn't turn on during 1st transfer, despite testing beforehand/resetting. Moved dryer to different outlet, which worked. Delayed heating cils with hair dryer ~30 seconds.
14CO_UR_DC_FIRN_SAMPLE_1 | UR-S02 | -38.55 | 0.6 | 171.9793 | 1.3755 | 169.0598 | 2.9076 | 83.6976 | 2 | 1367.841 | 0.13678 | 22.6 | 295.75 | 0.2 | 2513.365 | 0.25134 | 22.6 | 295.75 | 0.2 | 2513.365 | 2.4168 | 1145.524 | 2.4206 | Forgot to record exact time trap 8 stopped boiling. Recorded estimated time.
14CO_UR_DC_ICE_SAMPLE_11 | UR-S11 | -38.55 | 0.6 | 108.7002 | 0.64391 | 106.6807 | 1.6379 | 102.0092 | 2 | 1541.228 | 0.15412 | 22.6 | 295.75 | 0.2 | 2673.38 | 0.26734 | 23 | 296.15 | 0.2 | 2669.7692 | 2.5655 | 1128.5412 | 2.5701
14CO_UR_DC_WATER_BLANK_1 | UR-S06 | -38.55 | 0.6 | 4.766 | 0.2482 | 4.2249 | 0.27445 | 19.3144 | 2 | 1246.575 | 0.12466 | 22.6 | 295.75 | 0.2 | 2386.066 | 0.23861 | 22.6 | 295.75 | 0.2 | 2386.066 | 2.2944 | 1139.491 | 2.2978
14CO_UR_DC_ICE_SAMPLE_1 | UR-S10 | -38.55 | 0.6 | 100.6037 | 1.144 | 98.6994 | 2.0073 | 153.9114 | 2 | 1395.451 | 0.13955 | 22.6 | 295.75 | 0.2 | 2534.073 | 0.25341 | 22.7 | 295.85 | 0.2 | 2533.2165 | 2.4355 | 1137.7655 | 2.4395
14CO_UR_DC_ICE_SAMPLE_9 | UR-S22 | -38.55 | 0.6 | 127.2681 | 0.698 | 124.9845 | 1.8733 | 138.5884 | 2 | 1322.068 | 0.13221 | 22.8 | 295.95 | 0.2 | 2458.018 | 0.2458 | 22.8 | 295.95 | 0.2 | 2458.018 | 2.362 | 1135.95 | 2.3657
14CO_UR_DC_ICE_SAMPLE_3 | UR-S20 | -38.55 | 0.6 | 143.9904 | 1.9237 | 141.469 | 3.148 | 84.9039 | 2 | 1502.525 | 0.15025 | 22.8 | 295.95 | 0.2 | 2641.794 | 0.26418 | 22.8 | 295.95 | 0.2 | 2641.794 | 2.5386 | 1139.269 | 2.543
14CO_UR_DC_ICE_SAMPLE_12 | UR-S04 | -38.55 | 0.6 | 126.8929 | 1.1222 | 124.6147 | 2.2389 | 93.0915 | 2 | 1602.735 | 0.16027 | 22.7 | 295.85 | 0.2 | 2742.566 | 0.27426 | 22.8 | 295.95 | 0.2 | 2741.6393 | 2.635 | 1138.9043 | 2.6398 | Forgot to close 4H to KNFs before starting evacuation of recollection silcocan. Quickly closed 4H, evacutated silcocan for 30 minutes.
14CO_UR_DC_ICE_SAMPLE_4 | UR-S15 | -38.55 | 0.6 | 143.7876 | 1.1644 | 141.2691 | 2.4419 | 105.3595 | 2 | 1422.572 | 0.14226 | 22.4 | 295.55 | 0.2 | 2549.445 | 0.25494 | 22.4 | 295.55 | 0.2 | 2549.445 | 2.4531 | 1126.873 | 2.4572
14CO_UR_DC_WATER_BLANK_3 | UR-S09 | -38.55 | 0.6 | 4.0442 | 0.1195 | 3.5133 | 0.14449 | 24.0486 | 2 | 1173.868 | 0.11739 | 22.6 | 295.75 | 0.2 | 2314.141 | 0.23141 | 22.6 | 295.75 | 0.2 | 2314.141 | 2.2252 | 1140.273 | 2.2283
14CO_UR_DC_ICE_SAMPLE_7 | UR-S21 | -38.55 | 0.6 | 149.4462 | 1.2775 | 146.8472 | 2.599 | 101.0131 | 2 | 1505.475 | 0.15055 | 22.7 | 295.85 | 0.2 | 2643.06 | 0.26431 | 22.7 | 295.85 | 0.2 | 2643.06 | 2.5406 | 1137.585 | 2.5451 | Forgot to close K16 and K13 at end of colleciton step. Did transfer to recollection can with K16 and K13 open. At end of transfer step, saw I had left them open when I went to reopen K13 and K16 to evacuate downstream at the end of recollection transfer step. Closed K13 and K16, called Aparajeo and Vas to discuss. We decided the sample was likely ok, so I continued as-normal. The normal yield on this sample looks like the sample was likley OK.
14CO_UR_DC_ICE_SAMPLE_2 | UR-S17 | -38.55 | 0.6 | 92.6735 | 7.9096 | 90.882 | 8.5576 | 93.5604 | 2 | 1484.088 | 0.14841 | 22.7 | 295.85 | 0.2 | 2619.564 | 0.26196 | 22.7 | 295.85 | 0.2 | 2619.564 | 2.5181 | 1135.476 | 2.5224 | ~2 minutes before switching from UHP flush to sample, saw that the sharpie line on the trap 8 dewar wasn't visible. We decided to let the UHP flush run long while we made a new sharpie line. After drying the trap and before remarking the line, we saw the line was in fact visibile. Was blocked by some liquid water. Made sharpie line more visible. Also, sharpie lines on dewars 7 and 8 are at different heights--consider standardizing in future.
14CO_UR_DC_FIRN_SAMPLE_2 | UR-S18 | -38.55 | 0.6 | 123.1205 | 1.369 | 120.8959 | 2.4302 | 87.2286 | 2 | 1284.296 | 0.12843 | 22.6 | 295.75 | 0.2 | 2422.262 | 0.24223 | 22.7 | 295.85 | 0.2 | 2421.4433 | 2.328 | 1137.1473 | 2.3315
14CO_UR_DC_ICE_SAMPLE_5 | UR-S07 | -38.55 | 0.6 | 145.6941 | 1.284 | 143.1485 | 2.5683 | 86.6831 | 2 | 1424.41 | 0.14244 | 22.3 | 295.45 | 0.2 | 2563.186 | 0.25632 | 22.8 | 295.95 | 0.2 | 2558.8556 | 2.4609 | 1134.4456 | 2.4651 | KNFs failed leak check (~1.3 torr/min). Turned off KNFs, retightened all fittings, turned KNFs on again, let them run for ~40 mintues. Leak rate improved to ~1.1 torr/minute. We decided that was good enough, as it is far below our calculated limit.
14CO_UR_DC_WATER_BLANK_5 | UR-S01 | -38.55 | 0.6 | 4.5067 | 0.1251 | 3.9693 | 0.15379 | 39.7729 | 2 | 1337.056 | 0.13371 | 22.2 | 295.35 | 0.2 | 2470.317 | 0.24703 | 22.7 | 295.85 | 0.2 | 2466.1421 | 2.3726 | 1129.0861 | 2.3763
14CO_UR_DC_ICE_SAMPLE_14 | UR-S05 | -38.55 | 0.6 | 158.4513 | 2.1211 | 155.7242 | 3.4694 | 95.6344 | 2 | 1630.185 | 0.16302 | 22.6 | 295.75 | 0.2 | 2763.672 | 0.27637 | 22.9 | 296.05 | 0.2 | 2760.8715 | 2.6534 | 1130.6865 | 2.6584 | Repeating KNF pump leak test with H closed: 0:00 0.056 torr, 1:00 1.621 torr, 2:00 2.699 torr, 3:00 3.812 torr.
DRY INJ EXT BLK | UR-S24 | -38.55 | 0.6 | 6.1573 | 0.1418 | 5.5964 | 0.18406 | 12.1837 | 2 | 1893.318 | 0.18933 | 22.6 | 295.75 | 0.2 | 2779.289 | 0.27793 | 22.6 | 295.75 | 1.2 | 2779.289 | 11.4358 | 885.971 | 11.4374 | The line between H1 and SilcoCan was exposed to high CO (4.5 ppm) overnight from a opened Essex tank. Flush-evacuated three times before leak check
HOT-DRY BLK | UR-S25 | -38.55 | 0.6 | 9.2717 | 0.17631 | 8.6665 | 0.2445 | 143.1104 | 2 | 1980.644 | 0.19806 | 22.6 | 295.75 | 0.2 | 2800.301 | 0.28003 | 22.7 | 295.85 | 2.2 | 2799.3545 | 20.9043 | 818.7105 | 20.9053
14CO_UR_DC_10_PPM_CO_STD_1 |  | -38.55 | 0.6 | 1.7301 | 0.1138 | 1.2322 | 0.11925 | 10230 | 50
14CO_UR_DC_10_PPM_CO_STD_2 |  | -38.55 | 0.6 | 1.2503 | 0.0738 | 0.75913 | 0.078443 | 10230 | 50
10 ppm CO average / true 14C |  | -38.55 | 0.6 | 1.4902 | 0.33932 | 0.99565 | 0.33449 | 10230 | 50
Sample | fraction of CO from std | [CO] sample * P sample | Error | [CO]std*Pstd | Error | [CO]f*Pf = [CO]sa*Psa + [CO]std*Pstd | Error | Dilution factor for CO carbon | Final [CO] in diluted sample, ppb | Error | 14CO molecules per cc STP in diluted tanks | Error | [CO] in diluted tanks that is due to 10 ppm gas only | Error | 14CO molecules per cc in diluted tanks due to 10 ppm std | Error | 14CO molecules per cc STP in diluted tanks corrected for 14CO from 10 ppm tank | Error | Air dilution factor | Error | 14CO molecules per cc STP further corrected for air dilution | Error | Dissolution correction factor | Error | 14CO molecules per cc STP further corrected for dissolution | Error | 14CO molecules per cc corrected for avg water blank | Error | Expected [CO] in ice, ppb | Error | Extraneous [CO] expected based on water blanks, ppb | Error | "Other" extraneous CO in samples, ppb | Error | pMC of this extra CO | Error | 14CO contribution from this extra CO contamination, molecules / cc STP | Error | 14CO further corrected for this extraneous CO, molecules / cc STP | Error | Atmospheric 14CO originally trapped in sample ice, molecules / cc STP | Error | Gas age, yrs before measurement date | Atmospheric 14CO after decay, molecules/cc STP | Error | Sample 14CO further corrected for atmospheric 14CO, molecules/ cc STP | Error | Air content, cc STP/g | Error | 14CO molecules / g ice | Error (1-sigma) | Relative 1-sigma error, %
14CO_DIRECT_FILL_WITH_14C_MODERN_STANDARD | 0.98689 | 129768.0924 | 3680.1589 | 9767634.5742 | 55120.4726 | 9897402.6665 | 55243.1903 | 76.2699 | 3541.2735 | 20.057 | 11.4411 | 0.29958 | 3494.8427 | 20.0062 | 1.054 | 0.35415 | 10.3871 | 0.46386 | 1.5189 | 0.0014682 | 15.7769 | 0.70472
14CO_UR_DC_WATER_BLANK_2 | 0.98313 | 155783.7009 | 3802.4579 | 9076511.4815 | 52191.2573 | 9232295.1824 | 52329.5903 | 59.2636 | 3310.8968 | 19.0345 | 11.2101 | 0.40604 | 3255.0295 | 18.9767 | 0.98169 | 0.32985 | 10.2285 | 0.52314 | 1.4667 | 0.0014177 | 15.0018 | 0.76741 | 0.99619 | 0.00050615 | 15.0592 | 0.77038
14CO_UR_DC_ICE_SAMPLE_10 | 0.98333 | 197592.906 | 2667.3292 | 11658391.7221 | 61971.3433 | 11855984.6282 | 62028.7195 | 60.0021 | 4793.6752 | 25.4997 | 167.766 | 2.7511 | 4713.7834 | 25.4631 | 1.4216 | 0.47766 | 166.3444 | 2.7923 | 1.8545 | 0.0017926 | 308.4909 | 5.1869 | 0.99675 | 0.00043132 | 309.4956 | 5.2056 | 301.1721 | 5.2546 | 37.5 | 2.5 | 41.2 | 5 | 69.4619 | 5.9372 | 50 | 25 | 1.0819 | 0.54879 | 300.0902 | 5.2832 | 13.6 | 1 | 7077.6651 | 5.7771 | 0.42479 | 294.3131 | 5.3002 | 0.087959 | 0.00028227 | 25.8876 | 0.47355 | 1.8292
14CO_UR_DC_ICE_SAMPLE_6 | 0.98461 | 182491.0851 | 2731.885 | 11678185.2997 | 62200.2723 | 11860676.3849 | 62260.2367 | 64.9932 | 4730.1282 | 25.2434 | 194.4891 | 4.0815 | 4657.3494 | 25.2074 | 1.4046 | 0.47194 | 193.0845 | 4.1087 | 1.8358 | 0.0017756 | 354.4551 | 7.5504 | 0.99626 | 0.00049449 | 355.7869 | 7.5808 | 347.4634 | 7.6146 | 37.5 | 2.5 | 41.2 | 5 | 54.9038 | 5.9372 | 50 | 25 | 0.85515 | 0.43746 | 346.6083 | 7.6271 | 13.6 | 1 | 4194.9091 | 8.1876 | 0.60203 | 338.4207 | 7.6508 | 0.08766 | 0.00079322 | 29.666 | 0.7224 | 2.4351
14CO_UR_DC_ICE_SAMPLE_13 | 0.98667 | 157081.6233 | 3233.0702 | 11629126.41 | 62975.2275 | 11786208.0333 | 63058.1638 | 75.0324 | 4280.7834 | 23.2694 | 197.9848 | 3.2596 | 4223.7309 | 23.2301 | 1.2738 | 0.42801 | 196.711 | 3.2876 | 1.7032 | 0.0016455 | 335.0422 | 5.6089 | 0.99594 | 0.00053771 | 336.4091 | 5.6347 | 328.0856 | 5.68 | 37.5 | 2.5 | 36.2 | 5 | 23.4729 | 5.9372 | 50 | 25 | 0.3656 | 0.20486 | 327.72 | 5.6837 | 13.6 | 1 | 1967.505 | 10.7195 | 0.7882 | 317.0005 | 5.7381 | 0.08545 | 0.0003982 | 27.0878 | 0.50631 | 1.8691
14CO_UR_DC_FIRN_EXTRACTION_3 | 0.9891 | 128393.0709 | 2786.7476 | 11646949.1717 | 62146.6848 | 11775342.2425 | 62209.1343 | 91.7132 | 4650.8512 | 24.9737 | 125.6163 | 2.9183 | 4600.1404 | 24.9408 | 1.3874 | 0.46615 | 124.229 | 2.9553 | 1.8171 | 0.0017558 | 225.736 | 5.3745 | 0.99675 | 0.00043076 | 226.4725 | 5.393 | 218.1491 | 5.4403 | 37.5 | 2.5 | 21.7 | 5 | 70.4464 | 5.3852 | 50 | 25 | 1.0972 | 0.55499 | 217.0518 | 5.4685 | 0 | 0 |  | 0 | 0 | 217.0518 | 5.4685 | 0.086648 | 0.001223 | 18.8071 | 0.54312 | 2.8879
14CO_UR_DC_WATER_BLANK_4B | 0.99526 | 55228.5647 | 2592.7639 | 11602489.2984 | 61555.0194 | 11657717.8632 | 61609.6002 | 211.0813 | 4796.3446 | 25.7641 | 6.02 | 0.22772 | 4773.6219 | 25.7381 | 1.4397 | 0.48373 | 4.5804 | 0.53465 | 1.8749 | 0.0018122 | 8.5876 | 1.0024 | 0.99677 | 0.00042836 | 8.6154 | 1.0057
14CO_UR_DC_ICE_SAMPLE_8 | 0.9842 | 184719.6322 | 2616.9612 | 11503316.6874 | 61126.0269 | 11688036.3196 | 61182.0207 | 63.2745 | 4804.1248 | 25.5689 | 185.2683 | 3.3065 | 4728.1996 | 25.5332 | 1.426 | 0.47912 | 183.8424 | 3.341 | 1.8594 | 0.0017988 | 341.8349 | 6.221 | 0.99691 | 0.00041023 | 342.8956 | 6.2419 | 334.5722 | 6.2829 | 37.5 | 2.5 | 41.2 | 5 | 62.4746 | 5.9372 | 50 | 25 | 0.97306 | 0.49524 | 333.5991 | 6.3024 | 13.6 | 1 | 5569.2137 | 6.9336 | 0.50982 | 326.6655 | 6.3229 | 0.088436 | 0.00028667 | 28.8891 | 0.56696 | 1.9626
14CO_UR_DC_FIRN_SAMPLE_1 | 0.99033 | 114484.9491 | 2735.706 | 11718710.52 | 62400.1635 | 11833195.4691 | 62460.1032 | 103.3603 | 4708.1086 | 25.2602 | 241.1006 | 4.3437 | 4662.5582 | 25.2289 | 1.4062 | 0.47247 | 239.6944 | 4.3693 | 1.8375 | 0.0017764 | 440.431 | 8.0397 | 0.99787 | 0.00028468 | 441.3728 | 8.0579 | 433.0493 | 8.0896 | 37.5 | 2.5 | 21.7 | 5 | 61.9976 | 5.3852 | 50 | 25 | 0.96563 | 0.49005 | 432.0836 | 8.1045 | 0 | 0 |  | 0 | 0 | 432.0836 | 8.1045 | 0.10748 | 0.0017139 | 46.439 | 1.1433 | 2.462
14CO_UR_DC_ICE_SAMPLE_11 | 0.98656 | 157219.4238 | 3082.4961 | 11544976.0069 | 62251.7496 | 11702195.4307 | 62328.0203 | 74.4322 | 4383.2237 | 23.7228 | 141.6417 | 2.3058 | 4324.3349 | 23.6846 | 1.3042 | 0.4382 | 140.3375 | 2.347 | 1.7322 | 0.0016735 | 243.0975 | 4.0724 | 0.99602 | 0.000527 | 244.0695 | 4.0907 | 235.746 | 4.1529 | 37.5 | 2.5 | 36.2 | 5 | 28.3092 | 5.9372 | 50 | 25 | 0.44093 | 0.23907 | 235.3051 | 4.1598 | 13.6 | 1 | 509.2584 | 12.7875 | 0.94026 | 222.5176 | 4.2647 | 0.08335 | 0.0033009 | 18.5468 | 0.816 | 4.3997
14CO_UR_DC_WATER_BLANK_1 | 0.99794 | 24076.8263 | 2493.1512 | 11656992.93 | 61633.0578 | 11681069.7563 | 61683.463 | 485.1582 | 4895.5351 | 26.2766 | 6.265 | 0.40837 | 4885.4445 | 26.2541 | 1.4734 | 0.49506 | 4.7916 | 0.64175 | 1.9141 | 0.0018505 | 9.1717 | 1.2284 | 0.99775 | 0.00030263 | 9.1924 | 1.2312
14CO_UR_DC_ICE_SAMPLE_1 | 0.98188 | 214775.8721 | 2790.9846 | 11639340.6578 | 62121.3266 | 11854116.5299 | 62183.9916 | 55.193 | 4679.4724 | 24.9563 | 139.9016 | 2.9415 | 4594.6885 | 24.9174 | 1.3857 | 0.46559 | 138.5159 | 2.9781 | 1.8153 | 0.0017547 | 251.4534 | 5.4117 | 0.99608 | 0.00052066 | 252.4435 | 5.4346 | 244.12 | 5.4816 | 37.5 | 2.5 | 21.7 | 5 | 94.7114 | 5.9372 | 50 | 25 | 1.4752 | 0.74336 | 242.6448 | 5.5318 | 13.6 | 1 | 510.4836 | 12.7856 | 0.94012 | 229.8592 | 5.6111 | 0.081221 | 0.0033009 | 18.6694 | 0.88509 | 4.7409
14CO_UR_DC_ICE_SAMPLE_9 | 0.98448 | 183223.3364 | 2644.1995 | 11620768.5 | 61738.4673 | 11803991.8364 | 61795.0657 | 64.4241 | 4802.2398 | 25.5602 | 181.8075 | 2.8917 | 4727.6987 | 25.5247 | 1.4258 | 0.47907 | 180.3816 | 2.9311 | 1.8592 | 0.0017962 | 335.3695 | 5.4591 | 0.99675 | 0.00043003 | 336.4615 | 5.4788 | 328.1381 | 5.5254 | 37.5 | 2.5 | 41.2 | 5 | 59.8884 | 5.9372 | 50 | 25 | 0.93278 | 0.47547 | 327.2053 | 5.5459 | 13.6 | 1 | 6311.1384 | 6.3384 | 0.46606 | 320.8669 | 5.5654 | 0.087814 | 0.00070541 | 28.1764 | 0.53859 | 1.9115
14CO_UR_DC_ICE_SAMPLE_3 | 0.98917 | 127570.1652 | 3005.0771 | 11654721.87 | 62622.8294 | 11782292.0352 | 62694.8902 | 92.3593 | 4459.9587 | 24.1158 | 191.1189 | 4.3766 | 4411.6694 | 24.0808 | 1.3305 | 0.44705 | 189.7884 | 4.3994 | 1.7582 | 0.0016987 | 333.6929 | 7.7419 | 0.99582 | 0.00055692 | 335.0947 | 7.7767 | 326.7713 | 7.8096 | 37.5 | 2.5 | 21.7 | 5 | 25.7039 | 5.9372 | 50 | 25 | 0.40035 | 0.2205 | 326.3709 | 7.8127 | 13.6 | 1 | 1977.486 | 10.7066 | 0.78725 | 315.6643 | 7.8523 | 0.085055 | 0.0003982 | 26.8488 | 0.6796 | 2.5312
14CO_UR_DC_ICE_SAMPLE_12 | 0.98736 | 149201.0257 | 3205.5047 | 11650990.9982 | 63024.2209 | 11800192.0239 | 63105.6866 | 79.0892 | 4304.0644 | 23.3863 | 162.4649 | 3.0496 | 4249.644 | 23.3478 | 1.2817 | 0.43063 | 161.1832 | 3.0798 | 1.7106 | 0.0016529 | 275.7201 | 5.2751 | 0.99595 | 0.00053571 | 276.8415 | 5.2986 | 268.518 | 5.3468 | 37.5 | 2.5 | 36.2 | 5 | 19.3915 | 5.9372 | 50 | 25 | 0.30203 | 0.17708 | 268.216 | 5.3497 | 13.6 | 1 | 1221.8959 | 11.7313 | 0.86259 | 256.4847 | 5.4188 | 0.084751 | 0.00096442 | 21.7372 | 0.52163 | 2.3997
14CO_UR_DC_ICE_SAMPLE_4 | 0.98717 | 149881.4342 | 2845.1835 | 11527910.79 | 61696.8546 | 11677792.2242 | 61762.4233 | 77.9135 | 4580.5233 | 24.6235 | 196.008 | 3.5482 | 4521.7335 | 24.5881 | 1.3637 | 0.4582 | 194.6443 | 3.5776 | 1.7921 | 0.0017337 | 348.8294 | 6.4205 | 0.99614 | 0.00051257 | 350.1819 | 6.4479 | 341.8584 | 6.4875 | 37.5 | 2.5 | 21.7 | 5 | 46.1595 | 5.9372 | 50 | 25 | 0.71895 | 0.37118 | 341.1395 | 6.4981 | 13.6 | 1 | 2793.5736 | 9.7001 | 0.71324 | 331.4394 | 6.5372 | 0.08593 | 0.00034471 | 28.4807 | 0.57324 | 2.0127
14CO_UR_DC_WATER_BLANK_3 | 0.99759 | 28229.9397 | 2347.7377 | 11664992.79 | 61401.9077 | 11693222.7297 | 61446.7749 | 414.2135 | 5052.9431 | 26.9936 | 5.3774 | 0.22301 | 5040.7442 | 26.9724 | 1.5202 | 0.51079 | 3.8572 | 0.55735 | 1.9714 | 0.0019058 | 7.6039 | 1.0988 | 0.99627 | 0.00049352 | 7.6324 | 1.1029
14CO_UR_DC_ICE_SAMPLE_7 | 0.9871 | 152072.6392 | 3010.9884 | 11637494.55 | 62555.1 | 11789567.1892 | 62627.5226 | 77.5259 | 4460.5749 | 24.0799 | 198.4121 | 3.6713 | 4403.0384 | 24.0431 | 1.3279 | 0.44618 | 197.0842 | 3.6983 | 1.7556 | 0.0016967 | 346.0073 | 6.5015 | 0.99594 | 0.00053736 | 347.4172 | 6.5306 | 339.0937 | 6.5698 | 37.5 | 2.5 | 41.2 | 5 | 22.3131 | 5.9372 | 50 | 25 | 0.34753 | 0.19684 | 338.7462 | 6.5727 | 13.6 | 1 | 4837.7981 | 7.575 | 0.55698 | 331.1712 | 6.5963 | 0.087421 | 0.00094424 | 28.9512 | 0.65598 | 2.2658
14CO_UR_DC_ICE_SAMPLE_2 | 0.98819 | 138851.8581 | 2968.2085 | 11615919.48 | 62362.9054 | 11754771.3381 | 62433.5025 | 84.6569 | 4487.3007 | 24.2207 | 123.5306 | 11.651 | 4434.295 | 24.1852 | 1.3373 | 0.44934 | 122.1933 | 11.6597 | 1.7651 | 0.0017059 | 215.6833 | 20.5815 | 0.99578 | 0.00056138 | 216.5973 | 20.6691 | 208.2738 | 20.6815 | 37.5 | 2.5 | 21.7 | 5 | 34.3604 | 5.9372 | 50 | 25 | 0.53517 | 0.28312 | 207.7386 | 20.6834 | 13.6 | 1 |  |  |  | 207.7386 | 20.6834 | 0.083719 | 0.00096442 | 17.3917 | 1.7432
14CO_UR_DC_FIRN_SAMPLE_2 | 0.99046 | 112027.302 | 2568.6164 | 11633016.4016 | 61657.6167 | 11745043.7036 | 61711.0969 | 104.8409 | 4850.4311 | 25.9084 | 177.6248 | 3.6945 | 4804.1664 | 25.8787 | 1.4489 | 0.48682 | 176.1759 | 3.7264 | 1.8854 | 0.0018224 | 332.1663 | 7.0333 | 0.99704 | 0.00039506 | 333.1534 | 7.0554 | 324.8299 | 7.0916 | 37.5 | 2.5 | 21.7 | 5 | 65.5286 | 5.3852 | 50 | 25 | 1.0206 | 0.51716 | 323.8093 | 7.1105 | 0 | 0 |  | 0 | 0 | 323.8093 | 7.1105 | 0.087365 | 0.0012937 | 28.2897 | 0.74925 | 2.6485
14CO_UR_DC_ICE_SAMPLE_5 | 0.98947 | 123472.2556 | 2848.8468 | 11605378.1036 | 62075.2765 | 11728850.3592 | 62140.6138 | 94.9918 | 4583.6313 | 24.6814 | 198.7503 | 3.723 | 4535.3783 | 24.648 | 1.3678 | 0.45959 | 197.3825 | 3.7513 | 1.7964 | 0.001737 | 354.5843 | 6.7476 | 0.99601 | 0.00053018 | 356.006 | 6.7773 | 347.6825 | 6.8151 | 37.5 | 2.5 | 21.7 | 5 | 27.4831 | 5.9372 | 50 | 25 | 0.42806 | 0.23315 | 347.2545 | 6.8191 | 13.6 | 1 | 3399.0278 | 9.0151 | 0.66287 | 338.2394 | 6.8512 | 0.086595 | 0.00029449 | 29.29 | 0.60159 | 2.0539
14CO_UR_DC_WATER_BLANK_5 | 0.99542 | 53178.6605 | 2674.1173 | 11550550.3073 | 61465.9001 | 11603728.9678 | 61524.0423 | 218.2027 | 4705.2152 | 25.3548 | 5.6572 | 0.2213 | 4683.6517 | 25.3279 | 1.4125 | 0.47461 | 4.2446 | 0.52367 | 1.8445 | 0.001784 | 7.829 | 0.96591 | 0.99685 | 0.00041864 | 7.8538 | 0.96897
14CO_UR_DC_ICE_SAMPLE_14 | 0.9867 | 155901.7605 | 3260.4073 | 11566922.4259 | 62735.538 | 11722824.1864 | 62820.2036 | 75.1937 | 4246.0594 | 23.1168 | 200.2875 | 4.5936 | 4189.5911 | 23.0771 | 1.2635 | 0.42455 | 199.0239 | 4.6131 | 1.6936 | 0.0016365 | 337.0658 | 7.8196 | 0.99566 | 0.00057431 | 338.5336 | 7.856 | 330.2101 | 7.8886 | 37.5 | 2.5 | 36.2 | 5 | 21.9344 | 5.9372 | 50 | 25 | 0.34164 | 0.19424 | 329.8685 | 7.891 | 13.6 | 1 | 2782.5433 | 9.7131 | 0.7142 | 320.1554 | 7.9233 | 0.08593 | 0.00034471 | 27.511 | 0.68973 | 2.5071
DRY INJ EXT BLK | 0.99746 | 23067.6374 | 3786.6367 | 9063483.33 | 125109.784 | 9086550.9674 | 125167.075 | 393.909 | 3269.3797 | 47.0019 | 5.5422 | 0.19893 | 3261.0798 | 46.9724 | 0.98351 | 0.33072 | 4.5587 | 0.38594 | 1.4679 | 0.0060419 | 6.692 | 0.5672
HOT-DRY BLK | 0.96726 | 283450.6717 | 3961.3894 | 8375408.1358 | 217743.4871 | 8658858.8075 | 217779.5187 | 30.548 | 3093.1627 | 81.153 | 8.12 | 0.31284 | 2991.907 | 80.9286 | 0.90233 | 0.30412 | 7.2177 | 0.4363 | 1.4134 | 0.010555 | 10.2012 | 0.62133 |  |  |  |  | 309.2784 | [9 empty] | 0.72246 | [13 empty] | avg | 2.5573
[21 empty] | Average of water blanks run through sofnocat |  |  |  | 8.3235
[21 empty] | stdev |  |  |  | 0.71612
[9 empty] | 14C decay constant |  | 0.00012097
[22 empty] | Avg of borehole 1 ice samples |  |  | 324.3723
Note on G6: Vas Petrenko: Paroscientific gauge with 0.01% accuracy
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Linked to “Empirical ANSTO blank corr” sheet
Note on C8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For now just using the value we provided to Andrew; should re-check later
Note on D8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to revisit
Note on E8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: corrected for d13C and normalized to large standards
Note on O8: Vas Petrenko: Since I am just looking at drift between the pre-dilution and post-dilution temperatures, I think this is a reasonable estimate (so more of a relative error). T-couple reads to 0.1, but we don't have a 100% representative coverage of tank
Note on M23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: adjusted by 0.1˚C based on notebook
Note on J35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: provided by Linde Gas
Note on A37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tank is CC91353
Note on C37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: INSTAAR measurement
Note on M40: Vas: Contribution from error in d13C is negligible and is ignored
Note on Q40: Vas: Error frpm d13C is again negligible and is ignored
Note on AD40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: based on Fain et al 2023 CP ice Dome C continuous measurements
Note on AF40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The water blank CO increased at mid-season, after a set of IGE extractiions. This was also reflected in generally higher ice sample CO starting with our ice sample 6. So I am using the average of 2 water blanks run in early season and applying that for earlier samples, and using the average of the 2 late-season water blanks for late-season samples. Samples 11 - 14 were in late season, run without the bubbler/recirculation, and had slightly lower CO. So assigning a slightly lower blank for these
Note on AJ40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We don't really know this. This value could be consistent with the hot melter wall CO, but given the erratic nature of blanks, there was likely an external contaminant
Note on AK40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 25 pMC 1-sigma error allows for anywheer between 0 and 100 pMC at 2 sigma
Note on AL40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: assuming -25 per mil for this extra CO
Note on AM40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: d13C uncertainty is unimportant comapred to pMC uncertainty
Note on AP40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For firn samples, I am assuming this is negligible. For ice samples, assuming this is equal to the average of the somewhat older (4" core) Law Dome samples (after all corrections). See "Notes on 14CO data corrections.docx"
Note on AT40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: assuming age uncertainty is relatively negligible
Note on AW40: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For almost all ice samples, this is mean of OSU subsample measurements and std error of those. For ice sample 1, it's the average of melter sample estimates for sample 1 and 11, and the stdev. For firn samples, this is melter sample estimates. See "Air content" sheet as well as discussion in "Notes on 14CO data corrections.xlsx"

## 14C-free water blanks
Blank Name | Date collected | Field CO, ppb | Lab CO, ppb | 14CO after all corrections, molecules / cc STP | Error
UR DC Water Blank 1 | 2024-11-22 | 14.6407 | 19.3144 | 9.1892 | 1.2314
UR DC Water Blank 3 | 2024-12-05 | 17.1673 | 24.0486 | 7.6298 | 1.1031
UR DC Water Blank 4B | 2024-12-21 | 37.8997 | 42.6022 | 8.6125 | 1.006
UR DC Water Blank 5 | 2024-12-23 | 35.2996 | 39.7729 | 7.8511 | 0.96926
Early-season avg |  | 15.904 | 21.6815
Late-season avg |  | 36.5997 | 41.1876
Looks like either a calibration offset between field and lab measurements, or slow consistent growth of CO in Silcocans over the ≈10 months of storage
No consistent trend in 14CO over time, which is a bit suprising given what we saw at Summit and Law Dome
But this was a solar maximum, so perhaps production rates were lower
It is also possible that more in situ 14CO in canisters from earlier part of season is offset by
14CO contribution from the higher CO blank (by ≈20 ppb) in the later part of the season
This seems plausible based on the calculation below
CO blank difference between late and early season |  |  | 19.506 | ppb
Assumed activity of this CO |  |  | 100 | pMC
Then resulting extra 14CO |  |  | 0.61303 | molecules / cc STP
Considering all of the above, as well as the relatively negligible difference this effect would make for samples (which are mostly > 300 molecules / cc STP)
it makes sense to correct for the water blanks using a simple average of their values

## Hot melter wall blank
Estimating 14C activity of CO from hot melter walls
| Field measured CO, ppb | Lab measured CO, ppb | 14CO, molcules / cc STP | Error
DRY INJ EXT BLK | 4.824 | 12.1837 | 6.6897 | 0.56764
HOT-DRY BLK | 141.2882 | 143.1104 | 10.1977 | 0.62217
CO added from hot melter walls |  |  | 130.9266 | ppb
14CO added from hot melter walls |  |  | 3.508 | molecules / cc STP
Error |  |  | 0.84221
assumed d13C of melter wall CO |  |  | -25 | per mil
14C decay constant |  |  | 0.00012097 | yr^-1
inferred pMC of hot melter wall CO |  |  | 86.0417 | pMC
Error |  |  | 20.6573 | pMC
Previous estimate from experiments Peter ran: |  |  | 48.8 ± 12 pMC
So perhaps this has changed a bit, although estimates almost agree within 1 sigma error
I am actually not using this estimate for anything, because in the end our extraneous [CO] amounts are too erratic to be explained
by hot melter blank -- likely a large contribution from some external contaminant

## Air Content
Air content from OSU measurements on small subsamples | [6 empty] | Final values to use for 14CO content calculations | [5 empty] | Estimates of air content for shallow samples
Sample Name | Top depth, m | Mid-depth | Bottom depth, m | Mean air content, cc STP / g | Error |  | Mean air content, cc STP / g | Error |  |  |  |  | Fraction of 14CO in ice grains | Error | Air content estimate | Error
14CO_UR_DC_ICE_SAMPLE_1 | 100 | 110 | 120 | 0.074747 | 0.0029549 |  | 0.081221 | 0.0033009 |  |  |  |  | 0.456 | 0.0912 | 0.081221 | 0.0033009
14CO_UR_DC_ICE_SAMPLE_2 | 120 | 130 | 140 | 0.084104 | 0.00096442 |  | 0.083719 | 0.00096442 |  |  |  |  | 0.23 | 0.046 | 0.083719 | 0.00096442
14CO_UR_DC_ICE_SAMPLE_3 | 140 | 150 | 160 | 0.085202 | 0.0003982 |  | 0.085055 | 0.0003982 |  |  |  |  | 0.11 | 0.022 | 0.085055 | 0.0003982
14CO_UR_DC_ICE_SAMPLE_4 | 160 | 170 | 180 | 0.08593 | 0.00034471 |  | 0.08593 | 0.00034471
14CO_UR_DC_ICE_SAMPLE_5 | 180 | 190.5 | 201 | 0.086595 | 0.00029449 |  | 0.086595 | 0.00029449
14CO_UR_DC_ICE_SAMPLE_6 | 201 | 211 | 221 | 0.08766 | 0.00079322 |  | 0.08766 | 0.00079322
14CO_UR_DC_ICE_SAMPLE_7 | 221 | 230.925 | 240.85 | 0.087421 | 0.00094424 |  | 0.087421 | 0.00094424
14CO_UR_DC_ICE_SAMPLE_8 | 240.85 | 250.925 | 261 | 0.088436 | 0.00028667 |  | 0.088436 | 0.00028667
14CO_UR_DC_ICE_SAMPLE_9 | 261 | 270.84 | 280.68 | 0.087814 | 0.00070541 |  | 0.087814 | 0.00070541
14CO_UR_DC_ICE_SAMPLE_10 | 281 | 290.685 | 300.37 | 0.087959 | 0.00028227 |  | 0.087959 | 0.00028227
14CO_UR_DC_ICE_SAMPLE_11 | 100 | 109.96 | 119.92 | 0.074747 |  |  | 0.08335 | 0.0033009 |  |  |  |  | 0.456 | 0.0912 | 0.08335 | 0.0033009
14CO_UR_DC_ICE_SAMPLE_12 | 119.92 | 129.84 | 139.76 | 0.084104 |  |  | 0.084751 | 0.00096442 |  |  |  |  | 0.23 | 0.046 | 0.084751 | 0.00096442
14CO_UR_DC_ICE_SAMPLE_13 | 139.76 | 149.735 | 159.71 | 0.085202 |  |  | 0.08545 | 0.0003982 |  |  |  |  | 0.11 | 0.022 | 0.08545 | 0.0003982
14CO_UR_DC_ICE_SAMPLE_14 | 159.71 | 169.67 | 179.63 | 0.08593 |  |  | 0.08593 | 0.00034471
Air content from our measurements on large-volume samples
Sample | Weiss lab T (deg C) | T (K) | Error, K | Weiss lab P (psia) | Weiss Lab P (torr) | Error | L STP air in sample | Error | Air lost by leaving remaining air in downstr manifold, cc STP | Error | L STP in air sample corrected for loss to downstream manifold and Picarro | Error | Fraction of air dissolved in water, predicted from solubility | Error | Fraction of air left behind in melter | Error | Total air extracted further corrected for fraction left in melter, L STP | Error | Water level, cm below upper surface of lower flange | Error | Water mass, kg | Error | Air content, cc STP /g | Error
UR DC Firn Sample 1 | 20.4 | 293.55 | 1 | 26.96 | 1394.2337 | 0.13942 | 10.3813 | 0.0605 | 518.3248 | 43.1937 | 11.0176 | 0.077338 | 0.011193 | 0.0015681 | 0.0068145 | 0.0033952 | 11.0931 | 0.086612 | 66.7 | 0.5 | 103.2143 | 1.4352 | 0.10748 | 0.0017139
UR DC Firn Sample 2 | 20.3 | 293.45 | 1 | 25.28 | 1307.3527 | 0.13074 | 9.7377 | 0.056756 | 486.3694 | 40.5308 | 10.342 | 0.072933 | 0.016468 | 0.0023126 | 0.010026 | 0.0049962 | 10.4467 | 0.090593 | 61 | 0.5 | 119.5756 | 1.4352 | 0.087365 | 0.0012937
UR DC Firn Sample 3 | 20.8 | 293.95 | 1 | 27.41 | 1417.5054 | 0.14175 | 10.5402 | 0.061398 | 526.8843 | 43.907 | 11.185 | 0.078439 | 0.017589 | 0.002443 | 0.010708 | 0.0053316 | 11.3061 | 0.099997 | 57.2 | 0.5 | 130.4831 | 1.4352 | 0.086648 | 0.001223
UR DC Ice Sample 1 | 20.6 | 293.75 | 1 | 27.43 | 1418.5397 | 0.14185 | 10.5551 | 0.061499 | 527.2647 | 43.9387 | 11.2003 | 0.078536 | 0.021704 | 0.0030185 | 0.013214 | 0.0065799 | 11.3503 | 0.10983 | 53.2 | 0.5 | 141.9647 | 1.4352 | 0.079951 | 0.0011188 | Avg ice samples 1 - 4
UR DC Ice Sample 2 | 20.2 | 293.35 | 1 | 29.2 | 1510.0751 | 0.15101 | 11.2515 | 0.065587 | 560.932 | 46.7443 | 11.9304 | 0.083318 | 0.023618 | 0.0032906 | 0.014379 | 0.0071609 | 12.1044 | 0.12198 | 51.5 | 0.5 | 146.8444 | 1.4352 | 0.08243 | 0.0011572 | 0.082178
UR DC Ice Sample 3 | 20.2 | 293.35 | 1 | 29.54 | 1527.6581 | 0.15277 | 11.3825 | 0.066351 | 567.3991 | 47.2833 | 12.0678 | 0.084222 | 0.023491 | 0.0032766 | 0.014302 | 0.0071232 | 12.2429 | 0.123 | 51.8 | 0.5 | 145.9833 | 1.4352 | 0.083865 | 0.0011788
UR DC Ice Sample 4 | 20.5 | 293.65 | 1 | 28.01 | 1448.5343 | 0.14485 | 10.7819 | 0.062828 | 538.2969 | 44.8581 | 11.4382 | 0.080092 | 0.021354 | 0.0029695 | 0.013 | 0.0064734 | 11.5888 | 0.11118 | 53.7 | 0.5 | 140.5295 | 1.4352 | 0.082465 | 0.0011555
UR DC Ice Sample 5 | 20.5 | 293.65 | 1 | 28.05 | 1450.6029 | 0.14506 | 10.7973 | 0.062918 | 539.0578 | 44.9215 | 11.4543 | 0.080198 | 0.022107 | 0.0030737 | 0.013459 | 0.0067018 | 11.6106 | 0.11327 | 52.7 | 0.5 | 143.3999 | 1.4352 | 0.080967 | 0.0011316
UR DC Ice Sample 6 | 20.4 | 293.55 | 1 | 26.86 | 1389.0622 | 0.13891 | 10.3428 | 0.060276 | 516.4227 | 43.0352 | 10.9771 | 0.077074 | 0.020085 | 0.0027733 | 0.012228 | 0.0060855 | 11.113 | 0.10381 | 53 | 0.5 | 142.5388 | 1.4352 | 0.077965 | 0.0010708
UR DC Ice Sample 7 | 20.3 | 293.45 | 1 | 29.54 | 1527.6581 | 0.15277 | 11.3786 | 0.06632 | 567.3991 | 47.2833 | 12.064 | 0.084198 | 0.022097 | 0.0030579 | 0.013452 | 0.0066962 | 12.2285 | 0.11905 | 51.5 | 0.5 | 146.8444 | 1.4352 | 0.083275 | 0.0011488
UR DC Ice Sample 8 | 20.6 | 293.75 | 1 | 25.79 | 1333.7273 | 0.13337 | 9.924 | 0.057822 | 496.0702 | 41.3392 | 10.538 | 0.074212 | 0.016774 | 0.0023349 | 0.010212 | 0.0050856 | 10.6467 | 0.092813 | 58.8 | 0.5 | 125.8905 | 1.4352 | 0.084571 | 0.0012137
UR DC Ice Sample 9 | 20.7 | 293.85 | 1 | 25.99 | 1344.0703 | 0.13441 | 9.9976 | 0.058244 | 499.8744 | 41.6562 | 10.6154 | 0.074718 | 0.017549 | 0.0024382 | 0.010684 | 0.0053197 | 10.73 | 0.095042 | 57 | 0.5 | 131.0572 | 1.4352 | 0.081873 | 0.0011532
UR DC Ice Sample 10 | 20.8 | 293.95 | 1 | 26.26 | 1358.0333 | 0.1358 | 10.098 | 0.058822 | 505.0101 | 42.0842 | 10.7209 | 0.075407 | 0.017884 | 0.0024969 | 0.010888 | 0.0054233 | 10.8389 | 0.096665 | 58.2 | 0.5 | 127.6127 | 1.4352 | 0.084936 | 0.0012191
UR DC Ice Sample 11 | 20.5 | 293.65 | 1 | 30.29 | 1566.4443 | 0.15664 | 11.6596 | 0.067942 | 581.6649 | 48.4721 | 12.3592 | 0.086144 | 0.021493 | 0.0029711 | 0.013085 | 0.0065127 | 12.523 | 0.1202 | 51.1 | 0.5 | 147.9926 | 1.4352 | 0.084619 | 0.0011546 | Avg samples 11 - 14
UR DC Ice Sample 12 | 20.6 | 293.75 | 1 | 31.49 | 1628.5022 | 0.16285 | 12.1174 | 0.070602 | 604.4902 | 50.3742 | 12.8398 | 0.089316 | 0.021783 | 0.0030072 | 0.013262 | 0.0065999 | 13.0124 | 0.12557 | 50.5 | 0.5 | 149.7148 | 1.4352 | 0.086914 | 0.0011822 | 0.08623
UR DC Ice Sample 13 | 21 | 294.15 | 1 | 31.79 | 1644.0167 | 0.1644 | 12.2162 | 0.071144 | 610.1965 | 50.8497 | 12.9443 | 0.090013 | 0.021899 | 0.0030254 | 0.013332 | 0.0066355 | 13.1192 | 0.12691 | 50.4 | 0.5 | 150.0018 | 1.4352 | 0.08746 | 0.00119
UR DC Ice Sample 14 | 21 | 294.15 | 1 | 32.04 | 1656.9454 | 0.16569 | 12.3123 | 0.071704 | 614.9518 | 51.246 | 13.0451 | 0.090679 | 0.023489 | 0.0032454 | 0.0143 | 0.0071173 | 13.2344 | 0.13265 | 49 | 0.5 | 154.0204 | 1.4352 | 0.085926 | 0.0011759 | Avg of ice samples 1 and 11
0.082285
[10 empty] | Correction for fraction of air left behind |  |  |  | 0.6088 | [10 empty] | stdev
[10 empty] | Error |  |  |  | 0.29109 | [10 empty] | 0.0033009
Air lost to Picarro measurents
| Expansion pressure, torr | Error | Expansion volume, cc | Error | Air lost by expansions, cc | Error | Amount of air lost by flow, sccm | Error | Total air lost | Error
Ice and Firn samples | 550 | 50 | 40 | 10 | 27.9245 | 7.4284 | 90 | 20 | 117.9245 | 21.335
Silcocan parameters | minimum volume |  | 6024 | cc's
| max volume |  | 6139
| mid-range |  | 6081.5
| 1 sigma error |  | 28.75
Note on E3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: calculated as the mean of means for OSU samples that fall within the melter sample depth range. See OSU_DomeC_CH4_data.xlsx Alex confirmed that all subsamples for OSU were taken from the first borehole. So 2nd borehole values are just inferred based on values for those depth ranges from 1st borehole
Note on F3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: standard error of OSU measurement means
Note on H3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: calculated as the mean of means for OSU samples that fall within the melter sample depth range. See OSU_DomeC_CH4_data.xlsx Alex confirmed that all subsamples for OSU were taken from the first borehole. So 2nd borehole values are just inferred based on values for those depth ranges from 1st borehole. This is approached differently for the shallowest 3 depth levels because of significant fraction of 14CO that is in ice grains. See "Notes on 14CO data corrections.docx"
Note on I3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: standard error of OSU measurement means
Note on N3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: See notes on 14CO data correction.docx
Note on P3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: See "Notes on 14CO data corrections.docx"
Note on G22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Accuracy of the Paroscientific P gauge
Note on K22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: dominant contribution to error is the uncertainty in downstream volume
Note on N22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: See "Dome C melter gas solubility analyses.xlsx"
Note on J23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adding 15 torr to Weiss lab measurement -- this is an approximate amount by which pressure was higher before field Picarro measurement. Assuming 20˚C for overall T in downstream space because N145 pump is warm
Note on K41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Basically this is needed because once we start pulling air out of headspace, some gas starts to evade from the water
Note on O41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Value determined from LD work
Note on O42: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: doubling the error, because the value is from LD and some of our procedural parameters were different (e.g., transfer time was smaller)
Note on G44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Error contribution from T is negligible by comparison
Note on A47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From an email from Restek 6/9/26

## 14CO vs depth
Sample | Mean depth, m | 14CO, molec / g ice after all corrections | Error, 1 sigma | Mean gas age, yr before 1950 | Mean gas age, Years before measurement date
Borehole 1
14CO_UR_DC_FIRN_SAMPLE_1 | 34 | 46.439 | 1.1433
14CO_UR_DC_FIRN_SAMPLE_2 | 54.5 | 28.2897 | 0.74925
14CO_UR_DC_FIRN_EXTRACTION_3 | 75 | 18.8071 | 0.54312
14CO_UR_DC_ICE_SAMPLE_1 | 110 | 18.6694 | 0.88509 | 434.4836 | 510.4836
14CO_UR_DC_ICE_SAMPLE_3 | 150 | 26.8488 | 0.6796 | 1901.486 | 1977.486
14CO_UR_DC_ICE_SAMPLE_4 | 170 | 28.4807 | 0.57324 | 2717.5736 | 2793.5736
14CO_UR_DC_ICE_SAMPLE_5 | 190.5 | 29.29 | 0.60159 | 3323.0278 | 3399.0278
14CO_UR_DC_ICE_SAMPLE_6 | 211 | 29.666 | 0.7224 | 4118.9091 | 4194.9091
14CO_UR_DC_ICE_SAMPLE_7 | 230.925 | 28.9512 | 0.65598 | 4761.7981 | 4837.7981
14CO_UR_DC_ICE_SAMPLE_8 | 250.925 | 28.8891 | 0.56696 | 5493.2137 | 5569.2137
14CO_UR_DC_ICE_SAMPLE_9 | 270.84 | 28.1764 | 0.53859 | 6235.1384 | 6311.1384
14CO_UR_DC_ICE_SAMPLE_10 | 290.685 | 25.8876 | 0.47355 | 7001.6651 | 7077.6651
Borehole 2
14CO_UR_DC_ICE_SAMPLE_11 | 109.96 | 18.5468 | 0.816 | 433.2584 | 509.2584
14CO_UR_DC_ICE_SAMPLE_12 | 129.84 | 21.7372 | 0.52163 | 1145.8959 | 1221.8959
14CO_UR_DC_ICE_SAMPLE_13 | 149.735 | 27.0878 | 0.50631 | 1891.505 | 1967.505
14CO_UR_DC_ICE_SAMPLE_14 | 169.67 | 27.511 | 0.68973 | 2706.5433 | 2782.5433
110 m average value |  | 18.6081
Note on F3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From OSU CH4-matching age scale